Attachment A

Quotation Evaluation of 

Laser Ablation-Inductively Coupled Plasma Mass Spectrometer

(LA-ICPMS)

RFQ #2001-07

VENDOR


Spectro Analytical
TJA (Thermo-Noran)
Varian Analytical Instruments
Perkin Elmer
Agilent Technologies
Leco Corporation

TECHNICAL POINTS
Non-responsive: (did not respond to required technical criteria of the RFQ)
48
Deficient: Low evaluation score, confusing specifications listing. 
Deficient: technically unacceptable in several areas.
Deficient: Low technical score, high annual consumables cost.
58

COST POINTS



30

($246,419.30)
$231,217.00
$251,359.18
$255,584.80
29

($249,861.00)









TOTAL



78



87









