40

SOUTH COAST AIR QUALITY MANAGEMENT DISTRICT

REQUEST FOR PROPOSALS 



RFP # 2002 – 01

Pilot Demonstration of Residential Fuel Cells 

and a Reformer Based Energy Station

within the South Coast AQMD

The South Coast Air Quality Management District (AQMD) requests proposals for the following purpose according to terms and conditions attached.  In the preparation of this Request for Proposals (RFP), the words "Proponent," "Contractor," and "Consultant" are used interchangeably for the bidding team.  The term ‘Residence(s)’ is used for either single family homes or multiple dwelling units or a combination thereof.

PURPOSE

The purpose of this Request for Proposals (RFP) is to solicit cost-shared proposals to design, develop, and install residential fuel cells within the South Coast Air District.   These fuel cells will provide both electric power and supplemental heating.  Solicitations are sought in any one or more of the four sub-categories listed below: 

Category 1: Stand-Alone Natural Gas Fuel Cells 

This involves demonstration of either:

a. A network of  ten stand-alone, natural-gas fuel cells in separate residences, or 

b. A single large stand-alone natural gas fuel cell providing electric power and heat to ten  residences. 

Category 2: Reformer-Based Energy Station with Hydrogen Fuel Cells

A multipurpose reformer energy station will be demonstrated using a centralized natural gas reformer to generate and supply pure hydrogen to

a. A network of ten small-scale hydrogen fuel cells installed at residences or 

b. A larger hydrogen fuel cell that provides electric power to ten residences.  

Sufficient storage for a minimum supply of two days of hydrogen for residential power generation is recommended.  To maximize value, when fuel cell vehicles become available, this configuration should be able to provide hydrogen to these vehicles, or vehicles that run on blends of natural gas and hydrogen. 

These reformer energy stations will support residential fuel cells and the early introduction of hydrogen-fueled vehicles in the context of a distributed hydrogen infrastructure.  

Projects requiring substantial research and development will not be funded. 

The successful bidding team(s) will have proven expertise in working directly with hydrogen and fuel cell systems.  Contracting teams will be well-acquainted with the codes, standards, safety and permitting protocols of delivering, installing, operating, maintaining natural gas, hydrogen and fuel cell systems. 

Total AQMD funding available for this RFP is $1,000,000.  Project proponents are encouraged to seek co-funding from other sources – such as the recent incentives being provided by California Public Utilities Commission (CPUC).  Cost-sharing is expected to be at a minimum 50:50 basis.  Anticipated funding from outside sponsors is expected to increase the total project funding to about $2.0 million. AQMD reserves the right to make multiple awards or no awards whatsoever. 

Notice Inviting Bids
Prevailing Wages.  Bidders are alerted that the prevailing wage requirements of California Labor Code section 1770 et seq. are applicable to this Request for Proposal.  Copies of the prevailing rate of per diem wages are on file at the District, copies of which shall be made available to any interested party on request.  Notwithstanding the preceding sentence, Bidders shall be responsible for determining the applicability of the provisions of California Labor Code and complying with the same, including, without limitation, obtaining from the Director of the Department of Industrial Relations the general prevailing rate of per diem wages and the general prevailing rate for holiday and overtime work, making the same available to any interested party upon request, paying any applicable prevailing rates, and posting copies thereof at the job site.

INDEX - The following are contained in this RFP:


Section I
Background/Information/Schedule of Events


Section IB
Contact Person


Section IC
Schedule of Events


Section II
Statement of Work/Tasks


Section IIB
Required Qualifications of Team


Section III
Proposal Evaluation and Scoring Criteria


Section IV
Schedule of Deliverables


Section IVA
Schedule of Payment


Section V
Participation in the Procurement Process 


Section VI
Co-Funding / Matching Fund Requirements


Section VII
Proposal Submittal Requirements



Volume I Technical Proposal; Volume II
Cost Proposal


Section VIII
Proposal Submission 


Section IX
Funding


Section X
Draft Contract


Attachment A - Certifications and Representations

SECTION I:
BACKGROUND/INFORMATION/SCHEDULE OF EVENTS
In 1988, the AQMD's Governing Board adopted a Clean Fuels Program to promote the development, demonstration, and commercialization of innovative clean-fuel technologies.  The Technology Advancement (TA) office was subsequently formed to administer and manage this Clean Fuels Program.  The TA program targets advanced clean air technologies to meet the air quality objectives of the AQMD's Air Quality Management Plan (AQMP).

As a key air-quality attainment strategy, the AQMP has repeatedly identified the need to implement zero-emission technologies both in the stationary sector and in the mobile sector.  As California approaches the summer of 2001, there exists a serious potential of electricity demand outstripping electricity supply.  As a result, there maybe rolling black-outs, and potentially substantial use of high polluting diesel generators.  The purpose of the proposed RFP is to conduct a pilot project demonstrating the technological viability of near-zero emission residential fuel cells. In addition, the centralized reformer based energy station could produce hydrogen for both stationary and mobile fuel cells, given that various auto manufacturers are expected to deploy several dozen hydrogen fuel cell vehicles within the next two years. 

Successful bidders to this RFP will be required to install these smaller-scale fuel cells within the South Coast Air District.  Proponents are expected to proceed in two Phases.  During Phase I, proponents will be required to work with relevant authorities (local, state and/or federal) within South Coast Air District to acquire the necessary permits and permissions to site the proposed systems.  In addition, proponents are required to inform and get the general support of the residents within the vicinity of the site(s).  To do so, proponents may opt to conduct community meetings to inform the local residents regarding the proposed system(s) including details on performance, safety, etc. Such meetings would need to be fully coordinated with District Staff.  For Category 1, this phase will be limited to 6 months, while for Category 2, this phase will be limited to 9 months from start of contract.  This project will proceed to the second phase only if such necessary permissions and permits are acquired, and only upon further approval by the District to do so.
For Category 1, vendors are expected to provide semi-portable, pre-packaged, modular residential units that can dispense electric power and heat to residences.  For Category 2, until a reformer is obtained, with prior permission from AQMD, vendors in the interim may coordinate with the electrolyzer-based hydrogen refueling stations being considered for award through an earlier AQMD RFP.  Preferably, independent data should be submitted to AQMD to determine, among other features, emissions, efficiency, operation data, maintenance data, and ideally durability data.  Fuel cells may have to be removed and relocated to another site. To provide for such contingency, proponents should allow for at least one such relocation within the demonstration period.  Vendors should provide for protection and security of the fuel cell installations, ensure at least 75% availability of power averaged over a year, and a minimum of 2 year warranty which could include a preventive maintenance contract.  Vendors are encouraged to emphasize any unique, innovative and competitive advantages they may have over potential competition and/or competing technologies.

SECTION I(B): 
CONTACT PERSON:

Questions regarding the content or intent of this RFP should be addressed in writing to:


Ranji George, Program Supervisor


Technology Advancement


South Coast Air Quality Management District


21865 East Copley Drive


Diamond Bar, CA  91765


Fax: 909/396-3252


E-mail: rgeorge@aqmd.gov**
** Please note: all interested parties in this RFP are urged to promptly contact Ranji George by E-mail, i.e. prior to August 2, 2001.  (These include potential bidders, and those seeking to form or join teams to bid for this RFP.)  This will facilitate the mail out of updates, clarifications, etc.  Potential bidders are also encouraged to periodically monitor this Request for Proposal, at the AQMD Web-site, www.aqmd.gov/rfp.  Clarifications will be provided to frequently asked questions.

SECTION I (C):
SCHEDULE OF EVENTS

July 20, 2001 
Board Approval of RFP


July 20, 2001
RFP Released


August 9, 2001
Bidders conference 




(please see below)


September 7, 2001 
Proposals Due by 5 p.m.


September 28, 2001
Technology Committee


October 19, 2001
Recommendation to AQMD Governing Board


December 15 2001 
Anticipated Contract Start


June 30, 2002
Installation completed (suggested)


June 30, 2004
Final Reports Due

A bidder’s conference will be held on August 9, 2001 at 1:30 pm.  Although the bidder's conference is not mandatory, the prospective bidders or interested parties are encouraged to attend in person or via teleconference.  However, telephone access may be limited.  Please notify us of your intention to attend, at least 7 days in advance.  Any questions from prospective bidders or interested parties should be directed to Ranji George at E-mail address: rgeorge@aqmd.gov.  

SECTION II:
STATEMENT OF WORK

Statement of Work (SOW) 

Bid proposals should address concisely the information requested in the following Tasks and sub-Tasks in the format specified in Section VII (Proposal Submittal Requirements).  Project proponents are encouraged to pay close attention to Section IIIA (Scoring Criteria) to assess how their bids will be evaluated.  Information provided should be specific enough for evaluation and scoring purposes, and for inclusion into a binding contract.  Successful bidders are expected to expand, and provide more complete details, on each Task and sub-Task included in the Statement of Work below. 

The objective of this Request for Proposals (RFP) is to solicit cost-shared proposals to design, develop, and install residential fuel cells to power at least ten residences within the South Coast Air District.  Residences could include either single family homes or multiple dwelling units or some combination.  Preference would be given to projects that combine heating with power.  

This pilot project will demonstrate the technological feasibility of residential fuel cells using two innovative configurations.  The first configuration (Category One), a nearer term technology, would consist of powering at least ten residences by ten separate stand-alone natural gas fuel cells or by a single large stand-alone natural gas fuel cell.  A minimum of 30 kW (average) is being solicited, with preference given to a larger capacity 40 to 60 kW.

The second configuration (Category Two), a more advanced concept, consists of powering ten residences with a central natural gas reformer that can supply hydrogen to ten individual hydrogen powered residential fuel cells, or to a single large hydrogen powered fuel cell that, in turn, provide power to 10 residences.  A minimum storage of two days supply of hydrogen is desirable.  This reformer energy station may supply hydrogen to the early hydrogen fuel cell vehicles being planned for demonstration in the District, or vehicles that use a blend of natural gas and hydrogen.  In the context of a distributed hydrogen infrastructure, such dual use of reformer stations, i.e. supplying both stationary and mobile fuel cells - would minimize the risk of stranded investment of installing hydrogen refueling stations.  To emphasize the multiple applications of such reformer station, vendors can also elect to sell excess hydrogen to other markets – such as industrial applications.

This is a commercial demonstration program to provide a snapshot of the status of residential fuel cell technology and to raise the awareness of fuel cells within the regulatory, policy, technical and end-user communities. Though no guarantees are being made, successful demonstrations may lead to further projects.  Clear preference would be given to residential fuel cell technologies with warranties, or with full maintenance agreements, for 5 years or more.  Please note CPUC incentives require a 5-year warranty and/or maintenance contract.  Vendors should provide for protection and security of the fuel cell installations and ensure at least 75% availability of power averaged over a year.  For the two options involving small-scale fuel cells at individual residences, residential owners’ home insurance should cover the proposed fuel cell located in their homes.  Alternatively, for all the four options, the property owner of the multiple dwelling units should provide for such insurance.
Projects and subsystems requiring substantial research and development are discouraged.  However, preference would be given to proponents that integrate innovative, cost-effective advanced technologies.  Also, to determine the degree of corporate commitment to the technology, preference would be given to companies providing its own co-funding into project, preferably in cash and/or quantifiable in-kind co-funding.  A mandatory minimum of 20 percent co-funding is required from the company’s own resources. 

Task 1 – Design, fabricate and integrate residential fuel cells to power a minimum of 10 residences within the South Coast Air District.  

The proposed fuel cells should be compact, modular, easily transportable, and easily installed.  Each installed fuel cell unit should be natural gas-fueled combined heat and power (CH&P) system.  Each system will generate and export AC electric power to the residential dwelling, and heat or hot water for on-site consumption.  The CH&P system(s) will incorporate an electric power generator and have heat exchange equipment for the production of hot water or space heating/cooling using recovered exhaust heat.  Each system will include all hardware, instrumentation and controls, and software needed for system startup, design-point operation, off-design operation, planned shutdowns, and safe unplanned shutdowns.  Each system will be connected to natural gas or hydrogen fuel supply; the ambient air; the utility AC grid, to which power will be exported; and the hot-water distribution system.  In addition, backup power should be provided as follows:  a) for grid parallel systems, connection to the grid and for b) grid independent systems, a combination of batteries and excess hydrogen supply should be made available.  Proponents should have the ability for remote monitoring and preferably remote control as well.  For outdoor installations, proponents may suggest a 24-hour video surveillance of the equipment.

Proponents can bid in either of the two following configurations.  The key technical specifications for the fuel cells and reformers being made available for this project should be included.  These specifications include, but are not limited to, sustainable power output, sustainable efficiency, voltage, polarization curves, heat, peak power capability, duration of peak power, durability, maintenance requirements, etc.

Category One: Stand-alone Natural Gas Residential Fuel Cells (nearer term technology)

Proponents should design, fabricate and install residential fuel cells using natural gas to provide electric power and heat to at least 10 residences using either:

a)  10 stand-alone separate residential fuel cells, or

b)  One single large fuel cell.   

The total capacity of the small units or the large single unit should be at least 30 kW,  preferably 40 kW or above.  Vendors should monitor and document in the progress reports and in the final report, the energy inputs, the energy outputs, the availability and capacity factors of the units, the maintenance and operation of these units.

Category Two : Reformer-Based Energy Station with Hydrogen Fuel Cells

Proponents should design, fabricate and install the following:

A stand-alone natural gas reformer that can supply hydrogen:

a) to ten individual hydrogen powered residential fuel cells, or 

b) to a single large hydrogen powered fuel cell to power 10 residences.  (A minimum storage of two day excess supply of hydrogen would be required,)

c) to provide, in the future, pure hydrogen at 3600 psi to 5000 psi for internal combustion and fuel cell vehicles.  Proponents are not required to provide hydrogen compressor and dispenser at this time.  

Both electricity and heat should be provided to the residences.  A minimum supply of two days of hydrogen is strongly encouraged (though, permitting for storage could be a potential issue in some residential areas).  The total size of the unit (s) should be a minimum of 30 kW, with preference given to sizes in excess of 40 kW.  To demonstrate the dual use of the proposed reformer concept, hydrogen from this reformer station should also be made available to future fuel cell vehicles.  In addition, to recover their investment and reduce the stranded investment cost, vendors can sell hydrogen to other applications, including industrial applications.  Vendors should document such multiple uses and provide specific details in their progress reports and in the final report.   

Task 2 -  Acquire Permitting, Establish Safety and Provide Interconnection.

Proponents are expected to proceed in two Phases.  Phase I will consist of concurrent Task 1-4, and Phase II will consist of Tasks 5-7.  During Phase I, proponents will be required to work with relevant authorities (local, state and/or federal) within South Coast Air District to acquire the necessary permits and permissions to site the proposed systems.  In addition, proponents are required to inform and get the general support of the residents within the vicinity of the site(s).  To do so, proponents may opt to conduct community meetings to inform the local residents regarding the proposed system(s) including details on performance, safety, etc.  Such meetings would need to be fully coordinated with District Staff.  For Category 1, this phase will be limited to 6 months, while for Category 2, this phase will be limited to 9 months from start of contract.  This project will proceed to the second phase only if such necessary permissions and permits are acquired, and only upon further approval by the District to do so.  Within this time frame, a letter of agreement to install and operate these systems must be obtained from either the developer, the residential homeowners or from the owner of the properties.

Proponents should ensure that the provisions for safety controls for the entire installed system will meet or exceed industry standards and would be compliant with all applicable building, fire and electrical codes.  These codes include but are not limited to the evolving ASME PTC 50  (fuel cell performance), Z21.83 (fuel cell performance, safety), NFPA 853 (fuel cells near buildings), NFPA 70 (electrical components within the cell), UL 1741 (inverters, controllers), IEEE 1547 (interconnection).  Copies of these codes, standards should be preferably included.  Preference would be given to units with UL, CSA or equivalent certification.  Self-certification is desirable but not adequate.  Also, if grid parallel, the system(s) should comply with relevant state and/or federal interconnection standards with the grid.  Proponents should provide for remote monitoring - and preferably, remote controls - for operations, shutdown, startup, measurement etc.  Proponents should develop complete system(s) that can be installed with ease, following acquisition of all relevant permits.  All units should provide for safety, weather conditions, aesthetics, noise, ease of transportation and ease of installation.  Diagrams and photographs of the proposed units should be enclosed with the proposals.  

Task 3 - Discuss in detail the anticipated performance and economics of the proposed fuel cell system configuration.

I) Performance 

In the proposal, proponent should provide documentation of test or field data of the prototype equipment being proposed for the demonstration.  Prototype data should include, but not limited to performance, emissions, efficiency, degree of purity, durability etc.  Proponents are encouraged to provide independent verification, if any, of such data.  This data should be later validated against the operating data following the installation of the units in the field.

In the proposal, with regards to the proposed fuel cell system, proponent should discuss and/or report the following:

a) Specifications of each fuel cell in terms of packaging (weight, volume, size, utility connections, etc.), performance, durability, warranty, operation and maintenance  

b) Advantages of proposed package relative to competition

c) Discussion of the capability, advantages and drawbacks of any innovative features

d) Projected fuel consumption (in million BTUs) at rated electric power, and electrical efficiency at peak and part-load conditions 

e) Composition of the recommended fuel feedstock, and for Category Two, the output characteristics of the reformer

f) Start-up, shut-down, and part-load operation characteristics of the system

g) Preventive maintenance schedule, and the nature of maintenance

h) Safety plan for the fuel cell and associated permitting issues

II) Economics

In the proposal, Volume II, "Cost Proposal", proponents should discuss the anticipated costs of purchasing, installing, permitting, and operating the fuel cell network.  This should be later validated with the actual data.

· Proponents should determine the operating costs (fuel, utilities, maintenance, etc.) of the combined system.  Combining capital and operating costs, the price per kilowatt-hour should be calculated using the Discounted Cash Flow Method.

· Proponents should discuss how the proposed fuel cell systems will provide competitive advantages, if any, against competing technologies such as microturbines.  For example, microturbines have achieved low NOx emissions, high durability, and moderate efficiencies.  Identify key markets segments, where fuel cell systems can compete effectively.

· For the reformer station project, in Category Two, proponents should determine whether the concept of dual use of the hydrogen generated – to supply both stationary and mobile fuel cells – is a commercially viable and economically feasible concept relative to competing stationary and/or mobile technologies.

Task 4 – Independent verification of the proposed fuel cell system(s).

Proponents should provide independent verification of the claimed performance, emissions, safety, start-up and shutdown capabilities, and preferably the durability, of the proposed system.  In the absence of such independently verified test results, proponents should be willing to allow these units to be tested at an independent test site soon after contract is executed.  Independent test results that do not match manufacturer’s claims within a reasonable degree of accuracy will lead to the rejection of the proposed system.  At the AQMD’s discretion, an alternative competing bid proposal may be selected to replace the rejected bid.  On completion of Phase I, and approval by AQMD, proponents may proceed with the following tasks.

Task 5 –  Install, operate and maintain the residential fuel cell system.

Project proponents are expected to permit, install, operate and maintain the residential fuel cells for a minimum of 2 years, and preferably for 5 years.  Project costs in the proposal should specifically address the first 2 years of the project.   In addition, as an option, proponents can discuss operations, maintenance and support from year 3 onwards.  Proponent should ensure that access to the station is restricted to authorized and trained personnel only.  Proponent should provide independent verification of the adequacy of the safety plan from a qualified third-party safety expert.  Proponent should, during the project, prepare an emergency response, operating and training plan.

Task 6 – Collect reports and analyze data on operations.

During the duration of the project, proponent should document and compare anticipated performance and economics (see Task 3 above) with actual results.  In particular, proponent should discuss at minimum the following:

a) Installation, acceptance and permitting issues

b) Performance of the system in terms of kilowatts, kilowatt-hours, fuel consumption, heat, efficiency curves at different loads,

c) Deterioration of output

d) Capacity factor, (i.e. run time and available power per run time, relative to availability and total capacity)

e) Safety incidents, if any

f) Capital, permitting and installation costs

g) Operating (fuel, utility costs, etc.) and maintenance costs of the project,

h) Lessons learned

Task 7 – Transfer of the ownership of the fuel cells at the end of the demonstration site.


Proponents are encouraged to transfer the ownership of fuel cell system (s) to an end-user.  For a reasonable fee, not to exceed the rate charged to other customers, proponent should offer to provide maintenance assistance to the end-user for an additional period of at least 3 years or until the end of the useful life of the equipment, whichever is earlier.  If this is not possible, proponents should remove the system, restore full grid electricity to the end-user, and make any building and landscape improvements to restore the site to a level consistent with the neighborhood.

SECTION IIB:  REQUIRED QUALIFICATIONS 

Provide a resume or similar statement of the qualifications of the lead person and all persons assigned to the project.  (Substitution of project manager or lead personnel will not be permitted without prior written approval of AQMD).  List all key personnel assigned to the project by level and name, and include resumes.

The proponent must have detailed knowledge and expertise in handling natural gas, and for Category Two, hydrogen.  Must be strongly acquainted with industry, government codes, protocols and standards related to natural gas, reformers, small-scale fuel cells, and for Category Two, hydrogen.  For Category Two, the proponent should have direct experience in acquiring relevant building, fire and environmental permits to site a hydrogen generation system, and – if necessary – to make modifications to the site-facilities to comply with permit requirements.  Proponent would have experience in installing, operating and maintaining fuel cells.  Proponent should have a successful track record in commercializing environmentally friendly technologies.

SECTION III:
PROPOSAL EVALUATION/ AND SCORING CRITERIA 

A. A panel selected by the AQMD will evaluate all submitted proposals.  This panel may include members outside the AQMD.  The panel will make a recommendation to the Governing Board of the AQMD for final selection of contractor(s) and negotiation of contract.  

B. Each member of the evaluation panel shall be accorded equal weight in his or her rating of proposals.  The evaluation panel members shall evaluate the proposals according to the specified criteria and numerical weightings set forth below.

PLEASE IDENTIFY WHICH CATEGORY THE PROPOSAL IS SUBMITTED UNDER: 
1. CATEGORY ONE  (STAND-ALONE FUEL CELLS)

2. CATEGORY TWO (REFORMER ENERGY STATION WITH FUEL CELLS)

PLEASE REFER TO SECTION II “THE STATEMENT OF WORK-TASKS”  AS DETAILED ABOVE IN PAGES 4 TO 9, TO DETERMINE SCORES FOR THE FOLLOWING TASKS
· Task 1 – Design, fabricate and integrate residential fuel cells to power a minimum of 10 residences (SFR) within the South Coast Air District.  These units should meet the requirements set forth in Task 1 (with minimum warranty of two years) 
26
· Warranties and/or maintenance agreements for 5 years 
7
· Task 2 - Documentation of system’s compliance with all applicable safety, interconnection codes, building, fire codes, including but not limited to Z21.83, NFPA 853, NFPA 70, UL 1741, IEEE 1547, and preferably with evolving ASME PTC 50.   Preference would be given to units with UL, CSA or equivalent certification.  Preferably, copies of the applicable codes and standards should be attached. 
6
· Task 3 - Anticipated performance and economics of the above fuel cell system.  [See Volume II - Cost Proposal]
5
· The economics of fuel cells vs competing technologies. (such as microturbines)
4
· Task 4 – Provide Independent verification of the performance and, preferably, the durability proposed fuel cell system(s).
7
· Task 7 – Commitment to transfer ownership of the fuel cells systems to end-users, e.g. residential homeowners.  
5
· Qualifications of the proponents to successfully complete the project
10
· Project Cost  [Volume II, Cost Proposal] (maximum 30 points)

(a) Company co-funding relative to requested co-funding



(A minimum of 20 percent is required)


(b) Co-funding  with additional funds 


(e.g.  company, federal, state, etc.) 
    22  (max)



· Outside funds (including company funds) vs AQMD


3:1 or better  (best)=     
(22) points

    2:1   (better)
 (10) points

     1:1    (minimum)
(0)  minimum

           (c) Least Project cost per kW :
8
Total Points
100


Additional bonus points

· Small Business or Small Business Joint Venture
5

· DVBE or DVBE Joint Venture
5

· Use of DVBE or Small Business Subcontractors
5

· Local Business (Non-EPA Funded Projects Only)
5

· The cumulative points awarded for small business, DVBE, use of small business or DVBE subcontractors and local business shall not exceed 10 points.

A. To receive additional points in the evaluation process for any of the categories listed above, the proposer must submit a self-certification or certification from the State of California Office of Small Business Certification and Resources at the time of proposal submission certifying that the proposer meets the requirements set forth in Section III.  To receive points for the use of DVBE and/or Small Business subcontractors, at least 25 percent of the total contract value must be subcontracted to DVBEs and/or Small Businesses.

B. For procurement of Research and Development (R & D) projects or projects requiring special technical expertise, technical factors including past experience shall be weighted at 70 points and cost shall be weighted at 30 points.  A proposal must receive at least 56 out of 70 points on R & D projects and projects for special technical expertise in order to be deemed qualified for award.

C. During the selection process the evaluation panel may wish to interview some proposers for clarification purposes only.  No new material will be permitted at this time.

D. The Governing Board may award the contract to a proposer other than the proposer receiving the highest rating in the event the Governing Board determines that another proposer from among those technically qualified would provide the best value to AQMD considering cost and technical factors.  The determination shall be based solely on the Evaluation Criteria contained in the Request for Proposal (RFP), on evidence provided in the proposal and on any other evidence provided during the bid review process.  Evidence provided during the bid review process is limited to clarification by the proposer of information presented in his/her proposal.

E. Selection will be made based on the above-described criteria and rating factors.  Please note that this contract is not funded in whole or in part by EPA grants.  Hence, Section V, paragraph F does not apply.  The selection is subject to AQMD Governing Board approval.  All proposers will be notified of the results by letter.

SECTION IV:
SCHEDULE OF DELIVERABLES

Successful bidders, following contract execution with AQMD, are expected- at minimum-to supply the following deliverables:

1. Informal updates by E-mail or voice mail to program supervisor every 2 weeks, preferably in bullet form.

2. Written progress reports following the completion of a significant milestone.  This report will refer to the tasks in the statement of work, summarize and analyze project results by task, achievements to date, challenges that remain, and recommendations.  These progress reports should accompany any invoices billed to AQMD. 

3. Quarterly progress meetings, which may take place in person or via conference call.

4. For each year for the life of the contract, for general distribution, a two-page summary of the project that concisely describes the background, performance, economics, etc. of the project.  The format for this summary will be provided to the Contractor.

5. Final report which fully describes the accomplishments in achieving the goals of the project.  This report shall include detailed information on the above tasks - including the performance and economics of the installed fuel cell system. In addition, raw data should be included in the Appendix of the report.  (If portions of the data are proprietary, Contractor should provide this data in non-proprietary form after 2 years of the completion of the project, since it is expected that such data has aged and is no longer as valuable.) A draft final report must be submitted to the AQMD for review and comment at least 60 days prior to submission of the final report.   

4.
A set of 5-inch by 7-inch color photographs and 35 mm color slides, documenting the installation and operation of the fuel cell system.

5. Preparation and presentation of press releases on installing the fuel cell station, and presentation of  technical paper(s) at professional conference (s) with regards to the project.  Prior to submittal, all press releases and papers will be provided to the AQMD for review and comment.   Copies of the press releases and published papers will be included with the final report.

7.
For each year for the life of the contract, at AQMD’s discretion, preparation of a progress report and oral presentation for the AQMD’s Annual Contractors’ Review Meeting or other AQMD sponsored meeting, in Diamond Bar, California.

SECTION IVA:
SCHEDULE OF PAYMENT 

Successful bidders will be reimbursed on achieving key milestones (the following figures are percentages of the total AQMD contribution to the winning bids).  Total funds available from AQMD is $1,000,000.  Multiple awards may be made at AQMD’s discretion.

· Completion of the fuel cell system (design, fabricate, integrate):
30%

· Completion of independent testing of the fuel cell systems 
: 
10  %

· Permit acquisition, installation, acceptance test, start-up: 

10%

· 12 months after startup:

   10%

· At the end of 24 months after startup:

   10%

· Contingency for a relocation of the facility to another site 

 
10%

· Transfer of ownership to residential user of fuel cells

     5%

· Draft Report  


  5%

· Final Report:  

10%

SECTION V:

PARTICIPATION IN THE PROCUREMENT PROCESS
A.  
It is the policy of the South Coast Air Quality Management District to ensure that all businesses including minority business enterprises, women business enterprises, disabled veteran business enterprises, and small businesses have a fair and equitable opportunity to compete for and participate in District contracts.

B.  Definitions:

The definition of minority or women business enterprise set forth below is included for purposes of determining compliance with the affirmative steps requirement described in Paragraph F below on procurements funded in whole or in part with EPA grant funds which involve the use of subcontractors.  The definition provided for disabled veteran business enterprise and local business are provided for purposes of determining eligibility for point or cost considerations in the evaluation process.


1.
"Minority-or-women business enterprise" as used in this policy means a business enterprise that meets all the following criteria:


a.
a business that is at least 51 percent owned by one or more minority persons or women, or in the case of any business whose stock is publicly held, at least 51 percent of the stock is owned by one or more minority persons or women.


b.
a business whose management and daily business operations are controlled by one or more minority persons or women.


c.
a business which is a sole proprietorship, corporation, or partnership with its primary headquarters office located in the United States, which is not a branch or subsidiary of a foreign corporation, foreign firm, or other foreign-based business.


2.
"Minority person" for purposes of this policy, means a Black American, Hispanic American, Native American (including American Indian, Eskimo, Aleut, and Native Hawaiian), Asian-Indian American (including a person whose origins are from India, Pakistan, and Bangladesh), Asian-Pacific American (including a person whose origins are from Japan, China, the Philippines, Vietnam, Korea, Samoa, Guam, the United States Trust Territories of the Pacific, Northern Marinas, Laos, Cambodia, and Taiwan).


3.
"Disabled veteran" as used in this policy is a United States military, naval, or air service veteran with at least 10 percent service-connected disability who is a resident of California.


4.
"Disabled veteran business enterprise" as used in this policy means a business enterprise that meets all of the following criteria:


a.
is a sole proprietorship or partnership of which is at least 51 percent owned by one or more disabled veterans or, in the case of a publicly owned business, at least 51 percent of its stock is owned by one or more disabled veterans; a subsidiary which is wholly owned by a parent corporation but only if at least 51 percent of the voting stock of the parent corporation is owned by one or more disabled veterans; or a joint venture in which at least 51 percent of the joint venture's management and control and earnings are held by one or more disabled veterans.


b.
the management and control of the daily business operations are by one or more disabled veterans.  The disabled veterans who exercise management and control are not required to be the same disabled veterans as the owners of the business.


c.
is a sole proprietorship, corporation, or partnership with its primary headquarters office located in the United States, which is not a branch or subsidiary of a foreign corporation, firm, or other foreign-based business.


5.
"Local business" as used in the Procurement Policy and Procedure means a company that has an on-going business within the boundaries of the South Coast AQMD at the time of bid application and performs 90% of the work related to the contract within the boundaries of the AQMD and satisfies the requirements of Paragraph H below.


6.
"Joint ventures" as defined in this policy pertaining to certification means that one party to the joint venture is a DVBE and owns at least 51 percent of the joint venture.

C.
Under Request for Quotations, DVBEs and DVBE joint ventures shall be granted a preference in an amount equal to 3% of the lowest cost responsive bid.  Local businesses (if the procurement is not funded in whole or in part by EPA grant funds) shall be granted a preference in an amount equal to 2% of the lowest cost responsive bid.

D.
Under Request for Proposals, DVBEs and DVBE joint ventures shall be awarded ten (10) points in the evaluation process.  A non-DVBE shall receive seven (7) points for subcontracting at least twenty-five (25%) of the total contract value to a DVBE.  On procurements, which are not funded in whole or in part by EPA grant funds, local businesses shall receive five (5) points.

E.
AQMD will ensure that discrimination in the award and performance of contracts does not occur on the basis of race, color, sex, national origin, marital status, sexual preference, creed, ancestry, medical condition, or retaliation for having filed a discrimination complaint in the performance of AQMD contractual obligations.

F.  When contracts are funded in whole or in part by EPA grant funds and if subcontracts are to be let, the Contractor must comply with the following, evidencing a good faith effort to solicit minority and women owned enterprises.  Contractor shall submit a certification signed by an authorized official affirming compliance with the steps below at the time of proposal submission.  The AQMD reserves the right to request documentation demonstrating compliance with these steps prior to contract execution.


1.  Place qualified small and minority businesses and women’s business enterprises on solicitation lists;


2.  Assure that small and minority businesses, and women’s business enterprises are solicited whenever they are potential sources including advertising at least ten days in advance of the bid in a variety of media directed to minority-and women-owned business audiences;


3.  Divide total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by small and minority business, and women’s business enterprises;


4.  Establish delivery schedules, where requirements permit, which encourage participation by small and minority business, and women’s business enterprises; and


5.  Use the services and assistance of the Small Business Administration and the Minority Business Development Agency of the Department of Commerce.

G.
To the extent that any conflict exists between this policy and any requirements imposed by federal and state law relating to participation in a contract by a certified MBE/WBE/DVBE as a condition of receipt of federal or state funds, the federal or state requirements shall prevail.

H.
When contracts are not funded in whole or in part by EPA grant funds, such as this one, a local business preference will be awarded.  For such contracts that involve the purchase of commercial off-the-shelf products, local business preference will be given to suppliers or distributors of commercial off-the-shelf products who maintain an on-going business within the geographical boundaries of the AQMD.  However, if the subject matter of the RFP or RFQ calls for the fabrication or manufacture of custom products, only companies performing 90% of the manufacturing or fabrication effort within the geographical boundaries of the AQMD shall be entitled to the local business preference.

I.
In compliance with federal fair share requirements set forth in 40 CFR 35.6580, the AQMD shall establish a fair share goal annually for expenditures covered by its procurement policy.

SECTION VI:
CO-FUNDING / MATCHING FUND REQUIREMENTS

Matching funds or other significant co-funding is required for all Technology Advancement projects.  Proposals must include co-funding/matching funds to be eligible for funding under this RFP.  Co-funding/matching funds are that portion of the total contract cost not funded by the AQMD.  The Clean Fuels Program has achieved a high degree of leverage with its technology advancement funds.  Each dollar contributed by the AQMD has generated an additional $4 investment by private industry and other public agencies.  Proposers will receive additional proposal evaluation points under Section VI, based upon the amount of verified co-funding/matching funds.

Co-funding/matching funds can come from a variety of sources.  Specifically, matching funds may be either cash contributions or non-cash support (e.g. in-kind labor or lease of equipment in direct support of this project).  Cash contributions are preferred.  All Co-Funding For Successful Bidders Must Be Verified Prior To Contract Execution.
The amounts, forms, and sources of all matching funds must be specified in the proposal.  In addition, the proposal should contain a description of how co-funding will be used in relation to the project, and in relation to any awarded AQMD funds. Successful bidders need to keep track of these matching funds - direct or indirect - once the contract to proceed with the project is executed.  Please Note That Matching Funds Must Be Spent Concurrently With AQMD Funds.

Proposed co-funding must be spent only on the project described in the proposal.  In addition, as matching funds are spent, documentation on the types and amounts of the expenditures must be provided in writing to the AQMD.

Staff time, facility use, equipment, and most property MAY count toward co-funding as long as it is fully dedicated to the project for the time that the property or equipment is required by the contract.  In all cases, the AQMD reserves the right to review and approve or disapprove the crediting of contributions and the amounts of those contributions as matching funds.

Property and equipment that do not qualify as co-funding include such items as standard office supplies and property or equipment (excluding equipment used for demonstration purposes) that are part of the bidder's normal business activity.

SECTION VII:
PROPOSAL SUBMITTAL REQUIREMENTS
Submitted proposals must follow the format outlined below and all requested information must be supplied.  Failure to submit proposals in the required format will result in elimination from proposal evaluation.

Each proposal must be submitted with a cover letter and in three separate volumes:

Cover Letter: A separate cover letter including the name, address, and telephone number of the contractor, and signed by the person or persons authorized to represent the firm should accompany the proposal submission. Firm contact information as follows should also be included in the cover letter:


1.
Address and telephone number of office in, or nearest to, Diamond Bar, California.

2. Name and title of firm's representative designated as contact.

In addition, the proposal must contain the following volumes:

· Volume I - Technical Proposal
· Volume II - Cost Proposal

· Volume III - Certifications and Representations included in Attachment A to this RFP.  This should be executed by an authorized official of the Contractor.

A separate Table of Contents should be provided for Volumes I and II.

VOLUME  I - TECHNICAL PROPOSAL
Summary – Summarize key highlights of the proposed project, particularly in relation to Tasks 1 to 7.  

Technical Approach (Section A)

. 
Provide a description of the background on the proposed technical approach, including previous research and development progress and results, prior and potential applications of the technology, projected performance, and a description of the basic principles of operation for the proposed technology.  Provide information, particularly independently verified, on the performance, durability and emission reduction of any prototype developed and tested under steady-state and varying load conditions.  Identify closely competing technologies and discuss the relative merits and drawbacks of these various technologies relative to the proposed technology.


Specifically address Task 1 through Task 7 in Section II- Statement of Work (see above, Pages 4 - 10 ).   Describe how these tasks and subtasks will be accomplished during the proposed project.  The task and subtask descriptions shall be sufficiently specific for inclusion into a binding contract document.  Please bear in mind the following when constructing the Statement of Work:

1. Tasks shall be listed in sequential order;

2. Task and subtask descriptions shall state specifically what will be done in each, in the basic format of "CONTRACTOR shall...."

3. Narrative descriptions shall be minimized;

4. The product of each task shall be specified as a contractual deliverable.

.

Program Schedule (Section B) - This section shall identify anticipated dates of completion of all tasks and subtasks specified in the Statement of Work, including a list of milestones.  Specifically, this section should include:


1. An overall time schedule, in Gantt chart form;

2. A list of significant milestones, project deliverables, and the projected calendar delivery dates of each.  Adhere to the requirements listed in  Section IV – Deliverables (page 13 above)

Provide projected milestones or benchmarks for submitting reports within the total time allowed.

Project Organization (Section C) - Describe the proposed management structure, program monitoring procedures, and organization of the proposed team.

Qualifications (Section D) - Describe the technical capabilities of the firm.  Provide references of other similar studies performed during the last five years demonstrating ability to successfully complete the project.  Include contact name, title, and telephone number for any references listed.  Provide a statement of your firm's background and experience in performing similar projects.  Please refer to above Section IIB- Required Qualifications of Team (Page 10) and Section III: Proposal Evaluation and Scoring Criteria (Page 10) to provide additional information sought by this RFP on the Technical Qualifications of the Contracting Team.

Assigned Personnel (Section E) - Provide the following information on the staff to be assigned to this project:

1. List all key personnel assigned to the project by level and name.  Provide a resume or similar statement of the qualifications of the lead person and all persons assigned to the project.  Substitution of project manager or lead personnel will not be permitted without prior written approval of AQMD.

2. Provide a spreadsheet of the labor hours proposed for each labor category at the task level.


DO NOT INCLUDE ANY COST INFORMATION IN THE TECHNICAL VOLUME.
· Provide a summary of your firms general qualifications to meet required qualifications and fulfill statement of work, including additional firm personnel and resources beyond those who may be assigned to the project.

Subcontractors (Section F) - This project may require expertise in multiple technical areas.  List any subcontractors that may be used and the work to be performed by them.  

Conflict of Interest (Section G) - Address possible conflicts of interest with other clients affected by actions performed by the firm on behalf of AQMD.  Although the proposer will not be automatically disqualified by reason of work performed for such firms, AQMD reserves the right to consider the nature and extent of such work in evaluating the proposal. 

Additional Data (Section H) - Provide other essential data that may assist in the evaluation of this proposal.

VOLUME  II - COST PROPOSAL
Name and Address - The Cost Proposal must list the name and complete address of the proposer in the upper, left-hand corner.

Summary    - Summarize the key highlights of the project cost, project cost-sharing by various co-sponsors.

Cost Proposal – Task 3, Section II (Economics) should be discussed here.  Though this is a Fixed Price contract, in addition, cost information must be provided as listed below:

1.
Detail must be provided by the following categories:

· Labor - List the total number of hours and the hourly billing rate for each level of professional staff. This billing rate should be the fully burdened rate including but not limited to overhead rate, fringe benefits, etc.  Provide a basis of estimate justifying the proposed labor hours and proposed labor mix.

· Supplies and Equipment - Provide an itemized list of supplies and equipment to be used and/or purchased (the name brand, number, and cost of each) in excess of Five Hundred Dollars ($500). The AQMD reserves the right to retain ownership of any equipment purchased with AQMD funds.
· Subcontractor Costs - List subcontractor costs and identify subcontractors by name.  Itemize subcontractor charges per hour or per day. 

· Travel Costs - Indicate amount of travel cost and basis of estimate to include trip destination, purpose of trip, length of trip, airline fare or mileage expense, per diem costs, lodging and car rental.  There are certain limitations to these expense re-imbursements. These include:  Lodging – up to $ 85/day;  Car rentals – Class C or economy rates;  Airfare – coach rates only;  Mileage reimbursement – 32.5 cents/day;  Meals – up to $35/day.

· Other Direct Costs -This category may include such items as postage and mailing expense, printing and reproduction costs, etc.  Provide a basis of estimate for these costs.  

VOLUME  III - CERTIFICATIONS AND REPRESENTATIONS (see Attachment A to this RFP)

SECTION VIII :  PROPOSAL SUBMISSION

All proposals must be submitted according to specifications set forth in the section above.  Failure to adhere to these specifications may be cause for rejection of proposal.

Signature - All proposals should be signed by an authorized representative of the proposer.

Due Date - The proposer shall submit eight (8) complete copies of the proposal in a sealed envelope, plainly marked in the upper left-hand corner with the name and address of the proposer and the words "Request for Proposals 2002- 01."  All proposals are due no later than 5 p.m., September 7, 2001, and should be directed to:


Leticia De La O, Purchasing Supervisor


South Coast Air Quality Management District


21865 East Copley Drive


Diamond Bar, CA  91765

Late bids/proposals will not be accepted.  Any correction or resubmission done by the proposer will not extend the submittal due date.

Grounds for Rejection - A proposal may be immediately rejected if:


o
It is received at any time after the exact date and time set for receipt of proposals.


o
It is not prepared in the format described, or


o
It is signed by an individual not authorized to represent the firm.

Disposition of Proposals - AQMD reserves the right to reject any or all proposals.  All responses become the property of AQMD.  One copy of the proposal shall be retained for AQMD files.  Additional copies and materials will be returned only if requested and at the proposer's expense.

Modification or Withdrawal -  Once submitted, proposals cannot be altered without the prior written consent of AQMD.  All proposals shall constitute firm offers and may not be withdrawn for a period of ninety (90) days following the last day to accept proposals.

SECTION IX:
FUNDING

The total AQMD funding for the work contemplated by this RFP will be a maximum of $1,000,000.  Multiple awards may be made.  Proposers are required to bring cost-sharing to this effort.  

Sufficient funds are available in the FY 2001-2002 Budget, from revenues received from the state-mandated Clean Fuels Program.

Section X:
draft contract (Provided as example only)

Contract No. *****
SOUTH COAST AIR QUALITY MANAGEMENT AQMD

CONTRACT

This Contract consists of *** pages.

1.
PARTIES - The parties to this Contract are the South Coast Air Quality Management District (referred to here as "AQMD") whose address is 21865 E. Copley Drive, Diamond Bar, CA 91765, and *** (referred to here as "CONTRACTOR") whose address is ***.

2.
RECITALS 


A.
AQMD is the local agency with primary responsibility for regulating stationary source air pollution in the South Coast Air Basin in the State of California.  AQMD is authorized to enter into this Contract under California Health and Safety Code Section 40489.  AQMD desires to contract with CONTRACTOR for services described in Attachment 1 - Work Statement, attached here and made a part here by this reference.  CONTRACTOR warrants that it is well-qualified and has the experience to provide such services on the terms set forth here.


B.
CONTRACTOR is authorized to do business in the State of California and attests that it is in good tax standing with the California Franchise Tax Board.


C.
All parties to this Contract have had the opportunity to have this contract reviewed by their attorney.


D.
CONTRACTOR agrees to obtain the required licenses, permits, and all other appropriate legal authorizations from all applicable federal, state and local jurisdictions and pay all applicable fees.

3.
PERFORMANCE REQUIREMENTS

A.
CONTRACTOR warrants that it holds all necessary and required licenses and permits to provide these services.  CONTRACTOR further agrees to immediately notify AQMD in writing of any change in its licensing status.


B.
CONTRACTOR shall submit reports to AQMD as outlined in Attachment 1 - Work Statement.  All reports shall be submitted in an environmentally friendly format:  recycled paper; stapled, not bound; black and white, double-sided print; and no three-ring, spiral, or plastic binders or cardstock covers.  AQMD reserves the right to review, comment, and request changes to any report produced as a result of this Contract.


C. CONTRACTOR shall perform all tasks set forth in Attachment 1 - Work Statement, and shall not engage, during the term of this Contract, in any performance of work that is in direct or indirect conflict with duties and responsibilities set forth in Attachment 1 - Work Statement.


D. CONTRACTOR shall be responsible for exercising the degree of skill and care customarily required by accepted professional practices and procedures subject to AQMD'S final approval which AQMD will not unreasonably withhold.  Any costs incurred due to the failure to meet the foregoing standards, or otherwise defective services which require re-performance, as directed by AQMD, shall be the responsibility of CONTRACTOR.  CONTRACTOR'S failure to achieve the performance goals and objectives stated in Attachment 1- Work Statement, is not a basis for requesting re-performance unless work conducted by CONTRACTOR is deemed by AQMD to have failed the foregoing standards of performance.


E. Remove if not needed: CONTRACTOR shall post a performance bond in the amount of *** Dollars ($***) from a surety authorized to issue such bonds within the State. [OPTIONAL]

F. Remove if not needed: AQMD has the right to review the terms and conditions of the performance bond and to request modifications thereto which will ensure that AQMD will be compensated in the event CONTRACTOR fails to perform and also provides AQMD with the opportunity to review the qualifications of the entity designated by the issuer of the performance bond to perform in CONTRACTOR'S absence and, if necessary, the right to reject such entity. [OPTIONAL]

G. CONTRACTOR shall ensure, through its contracts with any subcontractor(s), that employees and agents performing under this Contract shall abide by paragraph D above.

4.
TERM - The term of this Contract is from (date of execution by both parties/or insert date) to  September 30, 2002, unless further extended by amendment of this Contract in writing.  No work shall commence until this Contract is fully executed by all parties.

5.
TERMINATION - In the event any party fails to comply with any term or condition of this Contract, or fails to provide the services in the manner agreed upon by the parties, including, but not limited to, the requirements of Attachment 1 - Work Statement, this failure shall constitute a breach of the Contract.  The nonbreaching party shall either notify the breaching party that it must cure this breach or provide written notification of its intention to terminate this Contract.  Notification shall be provided in the manner set forth in Clause 11.  The nonbreaching party reserves all rights under law and equity to enforce this Contract and recover any damages.  AQMD reserves the right to terminate this Contract for nonbreach and will reimburse CONTRACTOR for actual costs incurred in performance of this Contract through the effective date of termination for nonbreach.

6.
INSURANCE  [NOT REQUIRED ON STUDY CONTRACTS WITH INDIVIDUAL CONSULTANTS]

A.
CONTRACTOR shall furnish evidence to AQMD of workers' compensation insurance for each of its employees in accordance with either California or other applicable statutory requirements prior to commencement of any work on this Contract.


B.
CONTRACTOR shall furnish evidence to AQMD of liability insurance with a combined single limit (general and automotive) of *** Dollars ($***) prior to commencement of any work on this Contract.  AQMD shall be named as an additional insured on any such liability policy, and thirty (30)-days written notice prior to any modification of any such insurance shall be given by CONTRACTOR to AQMD and such modifications are subject to pre-approval by AQMD.


C.
If CONTRACTOR fails to maintain the required insurance coverage set forth above, AQMD reserves the right either to purchase such additional insurance and to deduct the cost thereof from any payments owed to CONTRACTOR or terminate this Contract for breach. 

7.
INDEMNIFICATION - CONTRACTOR agrees to hold harmless, indemnify, and defend AQMD, its officers, employees, agents, representatives, and successors-in-interest against any and all loss, damage, cost, or expenses which AQMD, its officers, employees, agents, representatives, and successors-in-interest may incur or be required to pay by reason of any injury or property damage caused or incurred by CONTRACTOR, its employees, subcontractors, or agents in the performance of this Contract.

8.
PAYMENT  (Choose one of the following A's)

*.
AQMD shall pay CONTRACTOR a fixed price of *** Dollars ($***) for work performed under this Contract in accordance with Attachment 2 - Payment Schedule, attached here and included here by reference.  Payment shall be made by AQMD to CONTRACTOR within thirty (30) days after approval by AQMD of an invoice prepared and furnished by CONTRACTOR showing services performed and referencing tasks and deliverables as shown in Attachment 1 - Work Statement, and the amount of charge claimed.  Each invoice must be prepared in duplicate, on company letterhead, and list AQMD'S Contract number, period covered by invoice, and CONTRACTOR'S social security number or Employer Identification Number and submitted to:  South Coast Air Quality Management AQMD,  Attn: ___________________. [FIXED PRICE]

*.
AQMD shall pay CONTRACTOR a total not to exceed amount of*** Dollars ($***), including any authorized travel-related expenses, for time and materials at rates in accordance with Attachment 2 - Payment Schedule, attached here and included here by this reference.  Payment of such compensation shall be made by AQMD to CONTRACTOR within thirty (30) days after approval by AQMD of an itemized invoice prepared and furnished by CONTRACTOR referencing line item expenditures as listed in Attachment 2 and the amount of charge claimed. [TIME AND MATERIALS (T&M)]

*.
CONTRACTOR shall adhere to total (task/cost category) (select one) expenditures as listed in Attachment 2.  Reallocation of costs between (task/category) expenditures is permitted up to One Thousand Dollars ($1,000) upon prior written approval from AQMD.  Reallocation of costs in excess of One Thousand Dollars ($1,000) between task/category expenditures requires an amendment to this Contract. [TIME AND MATERIALS (T&M)]
*
.




AQMD'S payment of invoices shall be subject to the following limitations and requirements:  [TIME AND MATERIALS (T&M)] 


i) For T&M contracts: Charges for equipment, material, and supply costs, travel expenses, subcontractors, and other charges, as applicable, must be itemized by CONTRACTOR.  Reimbursement for equipment, material, supplies, subcontractors, and other charges shall be made at actual cost.  Supporting documentation must be provided for all individual charges (with the exception of direct labor charges provided by CONTRACTOR) in excess of Two Hundred and Fifty Dollars ($250).  AQMD'S reimbursement of travel expenses and requirements for supporting documentation are listed in Paragraph 8.D. below.



iii)For T&M contracts: CONTRACTOR’S failure to provide receipts shall be grounds for AQMD'S non-reimbursement of such charges.  AQMD may reduce payments on invoices by those charges for which receipts were not provided.



iv)For T&M contracts: AQMD shall not pay interest, fees, handling charges, or cost of money on Contract.


*.
For T&M contracts: AQMD shall reimburse CONTRACTOR for travel-related expenses only if such travel is expressly set forth in Attachment 2 - Payment Schedule of this Contract or pre-authorized by AQMD in writing.



i)AQMD'S reimbursement of travel-related expenses shall cover lodging, meals, other incidental expenses, and costs of transportation subject to the following  limitations:  [TIME AND MATERIALS (T&M)]



Air Transportation - Coach class rate for all flights.  If coach is not available, business class rate is permissible.




Car Rental - A compact car rental.  A mid-size car rental is permissible if car rental is shared by three or more individuals.




Lodging - Up to seventy-five Dollars ($75) per night.  A higher amount of reimbursement is permissible if pre-approved by AQMD.




Meals - Daily allowance is thirty-one Dollars ($31).



ii)Supporting documentation shall be provided for travel-related expenses in accordance with the following requirements:




Lodging, Airfare, Car Rentals - Bill(s) for actual expenses incurred.




Meals - Meals billed in excess of $31 each day require receipts or other supporting documentation for the total amount of the bill and must be approved by AQMD.




Mileage - Reimbursement will be provided at the rate of twenty-eight Cents ($.28) for each mile.




Other travel-related expenses - Receipts are required for all individual items in excess of Fifty Dollars ($50).


*.
Remove if not needed: For Fixed Price contracts: An amount equal to *** percent (***%) shall be withheld from all charges paid until satisfactory completion and final acceptance of work by AQMD. [FIXED PRICE CONTRACTS ONLY] 


*.
AQMD reserves the right to disallow charges when the invoiced services are not performed satisfactorily in AQMD'S sole judgment.

9.

INTELLECTUAL PROPERTY RIGHTS - Title and full ownership rights to any software, documents, or reports developed under this Contract shall at all times remain with AQMD.  Such material is agreed to be AQMD'S proprietary information.


A.
Rights of Technical Data - AQMD shall have the unlimited right to use technical data, including material designated as a trade secret, resulting from the performance of services by CONTRACTOR under this Contract.  CONTRACTOR shall have the right to use data for its own benefit.


B.
Copyright - CONTRACTOR agrees to grant AQMD a royalty free, nonexclusive, irrevocable license to produce, translate, publish, use, and dispose of all copyrightable material first produced or composed in the performance of this Contract.

10.
NOTICES - Any notices from either party to the other shall be given in writing to the attention of the persons listed below, or to other such addresses or addressees as may hereafter be designated in writing for notices by either party to the other.  Notice shall be given by certified, express, or registered mail, return receipt requested, and shall be effective as of the date of receipt indicated on the return receipt card.


AQMD:

South Coast Air Quality Management District





21865 E. Copley Drive





Diamond Bar, CA  91765





Attn:  ***

CONTRACTOR:
***




***




***




Attn:  ***
11.
EMPLOYEES OF CONTRACTOR

A.
AQMD reserves the right to review the resumes of any of CONTRACTOR'S employees selected to perform the work specified here and to disapprove CONTRACTOR'S choices.  CONTRACTOR warrants that it will employ no subcontractor without written approval from AQMD.  CONTRACTOR shall be responsible for the cost of regular pay to its employees, as well as cost of vacation, vacation replacements, sick leave, severance pay and pay for legal holidays.


B.
CONTRACTOR, its officers, employees, agents, or representatives shall in no sense be considered employees or agents of AQMD, nor shall CONTRACTOR, its officers, employees, agents, or representatives be entitled to or eligible to participate in any benefits, privileges, or plans, given or extended by AQMD to its employees.

12.
CONFIDENTIALITY - It is expressly understood and agreed that AQMD may designate in a conspicuous manner the information which CONTRACTOR obtains from AQMD as confidential and CONTRACTOR agrees to:


A.
Observe complete confidentiality with respect to such information, including without limitation, agreeing not to disclose or otherwise permit access to such information by any other person or entity in any manner whatsoever, except that such disclosure or access shall be permitted to employees of CONTRACTOR requiring access in fulfillment of the services provided under this Contract.


B.
Ensure that CONTRACTOR'S officers, employees, agents, representatives, and independent contractors are informed of the confidential nature of such information and to assure by agreement or otherwise that they are prohibited from copying or revealing, for any purpose whatsoever, the contents of such information or any part thereof, or from taking any action otherwise prohibited under this paragraph.


C.
Not use such information or any part thereof in the performance of services to others or for the benefit of others in any form whatsoever whether gratuitously or for valuable consideration, except as permitted under this Contract.


D.
Notify AQMD promptly and in writing of the circumstances surrounding any possession, use, or knowledge of such information or any part thereof by any person or entity other than those authorized by this paragraph.


E.
Take at CONTRACTOR'S expense, but at AQMD'S option and in any event under AQMD'S control, any legal action necessary to prevent unauthorized use of such information by any third party or entity which has gained access to such information at least in part due to the fault of CONTRACTOR.


F.
Take any and all other actions necessary or desirable to assure such continued confidentiality and protection of such information.


G.
Prevent access to such by any person or entity not authorized under this Contract.


H.
Establish specific procedures in order to fulfill the obligations of this paragraph.

13.
PUBLICATION

A.
AQMD shall have the right of prior written approval of any document which shall be disseminated to the public by CONTRACTOR in which CONTRACTOR utilized information obtained from AQMD in connection with performance under this Contract.


B.
Information, data, documents, or reports developed by CONTRACTOR for AQMD, pursuant to this Contract, shall be part of AQMD'S public record unless otherwise indicated.  CONTRACTOR may use or publish, at its own expense, such information provided to AQMD.  The following acknowledgment of support and disclaimer must appear in each publication of materials, whether copyrighted or not, based upon or developed under this Contract.




"This report was prepared as a result of work sponsored, paid for, in whole or in part, by the South Coast Air Quality Management District (AQMD).  The opinions, findings, conclusions, and recommendations are those of the author and do not necessarily represent the views of AQMD.  AQMD, its officers, employees, contractors, and subcontractors make no warranty, expressed or implied, and assume no legal liability for the information in this report.  AQMD has not approved or disapproved this report, nor has AQMD passed upon the accuracy or adequacy of the information contained herein."


C.
CONTRACTOR shall inform its officers, employees, and subcontractors involved in the performance of this Contract of the restrictions contained herein and require compliance with the above.

14.
NON-DISCRIMINATION - In the performance of this Contract, CONTRACTOR shall not discriminate in recruiting, hiring, promotion, demotion, or termination practices on the basis of race, religious creed, color, national origin, ancestry, sex, age, or physical or mental disability and shall comply with the provisions of the California Fair Employment & Housing Act (Government Code Section 12900 et seq.), the Federal Civil Rights Act of 1964 (P.L. 88-352) and all amendments thereto, Executive Order No. 11246 (30 Federal Register 12319), and all administrative rules and regulations issued pursuant to said Acts and Order.  CONTRACTOR shall likewise require each subcontractor to comply with this paragraph and shall include in each such subcontract language similar to this paragraph.

15.
SOLICITATION OF EMPLOYEES - CONTRACTOR expressly agrees that CONTRACTOR shall not, during the term of this Contract, nor for a period of six months after termination, solicit for employment, whether as an employee or independent contractor, any person who is or has been employed by AQMD during the term of this Contract without the consent of AQMD.

16.
PROPERTY AND SECURITY - Without limiting CONTRACTOR'S obligations with regard to security, CONTRACTOR shall comply with all the rules and regulations established by AQMD for access to and activity in and around AQMD'S premises.

17.
ASSIGNMENT - The rights granted hereby may not be assigned, sold, licensed, or otherwise transferred by either party without the prior written consent of the other, and any attempt by either party to do so shall be void upon inception.

18.
NON-EFFECT OF WAIVER - The failure of CONTRACTOR or AQMD to insist upon the performance of any or all of the terms, covenants, or conditions of this Contract, or failure to exercise any rights or remedies hereunder, shall not be construed as a waiver or relinquishment of the future performance of any such terms, covenants, or conditions, or of the future exercise of such rights or remedies, unless otherwise provided for herein.

19.
ATTORNEYS' FEES - In the event any action is filed in connection with the enforcement or interpretation of this Contract, each party shall bear its own attorneys' fees and costs.

20.
FORCE MAJEURE - Neither AQMD nor CONTRACTOR shall be liable or deemed to be in default for any delay or failure in performance under this Contract or interruption of services resulting, directly or indirectly, from acts of God, civil or military authority, acts of public enemy, war, strikes, labor disputes, shortages of suitable parts, materials, labor or transportation, or any similar cause beyond the reasonable control of AQMD or CONTRACTOR.

21.
SEVERABILITY - In the event that any one or more of the provisions contained in this Contract shall for any reason be held to be unenforceable in any respect by a court of competent jurisdiction, such holding shall not affect any other provisions of this Contract, and the Contract shall then be construed as if such unenforceable provisions are not a part hereof.

22.
HEADINGS - Headings on the paragraphs of this Contract are for convenience and reference only, and the words contained therein shall in no way be held to explain, modify, amplify, or aid in the interpretation, construction, or meaning of the provisions of this Contract.

23.
DUPLICATE EXECUTION - This Contract is executed in duplicate.  Each signed copy shall have the force and effect of an original.

24.
GOVERNING LAW - This Contract shall be construed and interpreted and the legal relations created thereby shall be determined in accordance with the laws of the State of California.  Venue for resolution of any disputes under this Contract shall be Los Angeles County, California.

25.
CITIZENSHIP AND ALIEN STATUS

A.
CONTRACTOR warrants that it fully complies with all laws regarding the employment of aliens and others, and that its employees performing services hereunder meet the citizenship or alien status requirements contained in federal and state statutes and regulations including, but not limited to, the Immigration Reform and Control Act of 1986 (P.L. 99-603).  CONTRACTOR shall obtain from all covered employees performing services hereunder all verification and other documentation of employees' eligibility status required by federal statutes and regulations as they currently exist and as they may be hereafter amended.  CONTRACTOR shall have a continuing obligation to verify and document the continuing employment authorization and authorized alien status of employees performing services under this Contract to insure continued compliance with all federal statutes and regulations.


B.
Notwithstanding paragraph 25A above, CONTRACTOR, in the performance of this Contract, shall not discriminate against any person in violation of 8 USC Section 1324b.


C.
CONTRACTOR shall retain such documentation for all covered employees for the period described by law.  CONTRACTOR shall indemnify, defend, and hold harmless AQMD, its officers and employees from employer sanctions and other liability which may be assessed against CONTRACTOR or AQMD, or both in connection with any alleged violation of federal statutes or regulations pertaining to the eligibility for employment persons performing `services under this Contract.

26.
REQUIREMENT FOR FILING STATEMENT OF ECONOMIC INTERESTS [OPTIONAL] -  
In accordance with the Political Reform Act of 1974 (Government Code Section 81000 et.seq.) and regulations issued by the Fair Political Practices Commission (FPPC), AQMD has determined that the nature of the work to be performed under this Contract requires CONTRACTOR to submit a Form 730, Statement of Economic Interests for Designated Officials and Employees, for each of its employees assigned to work on this Contract.  These forms may be obtained from the AQMD"S Contracts Unit.

27.
COMPLIANCE WITH SINGLE AUDIT ACT REQUIREMENTS - [OPTIONAL - TO BE INCLUDED IN CONTRACTS WITH FEDERAL PASS-THROUGH FUNDING] - Beginning with Contractor's current fiscal year and continuing through the term of this Contract, CONTRACTOR shall arrange to have its financial statements audited by a firm of independent accountants in accordance with Generally Accepted Government Audit Standards (GAGAS).  Within thirty (30) days of issuance, CONTRACTOR shall forward to AQMD its audited financial statements along with a report on internal control and a report on compliance issued by its independent auditors for each fiscal year covered by the term of this Contract.  If CONTRACTOR is a federal contractor, CONTRACTOR shall request its cognizant government audit agency to perform audit work required by OMB Circular A-133 beyond the requirements of GAGAS for each fiscal year covered by the term of this Contract. In the event that the cognizant government audit agency does not perform the requested audit work, CONTRACTOR shall take appropriate alternative action to comply with the Circular.

28.
OPTION TO EXTEND THE TERM OF THE CONTRACT - [OPTIONAL] - AQMD reserves the right to extend the contract for a one-year period commencing ******(enter date) at the (option price or Not-to-Exceed Amount) set forth in Attachment 2.  In the event that AQMD elects to extend the contract, a written notice of its intent to extend the contract shall be provided to CONTRACTOR no later than thirty (30) days prior to Contract expiration.  

29.
ENTIRE CONTRACT - This Contract represents the entire agreement between the parties hereto related to CONTRACTOR providing services to AQMD and there are no understandings, representations, or warranties of any kind except as expressly set forth herein.  No waiver, alteration, or modification of any of the provisions herein shall be binding on any party unless in writing and signed by the party against whom enforcement of such waiver, alteration, or modification is sought.

IN WITNESS WHEREOF, the parties to this Contract have caused this Contract to be duly executed on their behalf by their authorized representatives.

SOUTH COAST AIR QUALITY 


______________________________

MANAGEMENT DISTRICT

By: 
___________________________________By:______________________________


Barry R. Wallerstein, D.Env.


Acting Executive Officer


William A. Burke, Ed.D., Chairman of the Board

Date: ______________________________
Date:____________________________

ATTEST:


Jackie Dix, Clerk of the Board


By: ________________________________________


APPROVED AS TO FORM:

Peter Greenwald, General Counsel

By: ________________________________________

ATTACHMENT A

CERTIFICATIONS AND REPRESENTATIONS

State of Incorporation and Tax Standing

1.
If the Contractor is a corporation please list your state of incorporation


_________________________________________________________.

2.
The Contractor hereby attests that it is in good tax standing with the State of California as of the date set forth below.

Company Name and Address:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name of Authorized Representative

______________________________

______________________________

Title

______________________________

Date

CERTIFICATION

DISABLED VETERAN BUSINESS ENTERPRISE (DVBE)

To receive points in the evaluation process for being a DVBE, the Contractor must submit evidence of certification by an agency whose certification meets the requirements set forth in Section II .B (3) and B (4) of the RFP.

CERTIFICATION 

MOST FAVORED CUSTOMER STATUS

By submission of this offer, the Contractor hereby certifies that the rates contained in its cost proposal are no higher than those charged the Contractor’s most favored customer.

Company Name:

_______________________________________

_______________________________________

Name of Authorized Representative

_______________________________________

Title

_______________________________________

Date


[image: image1.wmf]
To Whom It May Concern:

Federal Income Tax Law requires our District to file information returns for “services rendered” by certain individuals and others.  The code provides that the Taxpayer Identification Number of the “payment recipient” (you) must be furnished upon request to the “service recipient” (us).

According to the regulations, effective January 1, 1984, if the payee fails to provide the Correct ID Number, payments may be subject to 20% Backup Federal Income Tax Withholding by our District, and the payee is further subject to a penalty of $50.00 by the IRS.

In order to help us comply with our reporting responsibilities and to protect yourself from withholding or penalty, please provide the following information and complete the attached W-9 form, and return both documents.


1.
NINE DIGIT



Federal Identification No. ____________________



or                                                                             (please print)



Social Security No. ___________________________


2.
ENTITY (check one)



Individual                 _______



Corporation              _______



Partnership               _______



Sole Proprietorship   _______



Other (specify)         ________________________________________________

_______________________________________

____________________________

Signature






Date

_______________________________________

Title

[image: image2.png]Form W-9 (Rev. 3-94)

Page 2

Note: Writing "Applied For” on the form
means that you have already applied for a
TIN OR that you intend to apply for one
soon.

As soon as you receive your TIN,
complete another Form W-9, include your
TIN, sign and date the form, and give it to
the requester.

Penalties

Failure To Furnish TIN.—If you fail to
furnish your correct TIN to a requester, you
are subject to a penalty of $50 for each
such failure unless your failure is due to

reasonable cause and not to willful neglect.

Civil Penalty for False Information With
Respect to Withholding.—If you make a

false statement with no reasonable basis

that results in no backup withholding. you
are subject to a $500 penalty.

Criminal Penalty for Falsifying
Information.— Willfully falsifying
certifications or affirmations may subject
you to criminal penalties including fines
and/or imprisonment.

Misuse of TINs.—If the requester
discloses or uses TINs in violation of
Federal law, the requester may be subject
to civil and criminal penalties.

Specific Instructions

Name.—If you are an individual, you must
generally enter the name shown on your
social security card. However, if you have
changed your last name, for instance, due
to marriage, without informing the Socia!
Security Administration of the name

" change, please enter your first name, the
last name shown on your social security
card, and your new last name.

Sole Proprietor.—You must enter your
individual name. (Enter either your SSN or
EIN in Part |.) You may also enter your
business name or “doing business as”
name on the business name line. Enter
your name as shown on your social
security card and business name as it was
used to apply for your EIN on Form SS-4.

Part l—Taxpayer Identification Number
(TIN)

You must enter your TIN in the appropriate
box. If you are a sole proprietor, you may
enter your SSN or EN. Also see the chart
on this page for further clarification of
name and TIN combinations. If you do not
have a TIN, follow the instructions under
How To Get a TIN on page 1.

Part ll—For Payees Exempt From
Backup Withholding

Individuals (including sole proprietors) are
not exempt from backup withholding.
Corporations are exempt from backup
withholding for certain payments, such as
interest and dividends. For a complete list
of exempt payees, see the separate
Instructions for the Requester of Form
W-9.

If you are exempt from backup
withholding, you should still complete this
form to avoid possible erroneous backup
withholding. Enter your correct TIN in Part
1, write "Exempt” in Part I, and sign and
date the form. If you are a nonresident
alien or a foreign entity not subject to
backup withholding, give the requester a
completed Form W-8, Certificate of
Foreign Status.

Part iI—Centification

For a joint account, only the person whose
TIN is shown in Part | should sign.

1. Interest, Dividend, and Barter
Exchange Accounts Opened Before 1984
and Broker Accounts Considered Active
During 1983. You must give your correct
TIN, but you do not have to sign the
certification.

2. Interest, Dividend, Broker, and
Barter Exchange Accounts Opened After
1983 and Broker Accounts Considered
Inactive During 1983. You must sign the
certification or backup withholding will
apply. If you are subject to backup
withholding and you are merely providing
your correct TIN to the requester, you must
cross out item 2 in the certification before
signing the form.

3. Real Estate Transactions. You must
sign the certification. You may cross out
item 2 of the certification.

4. Other Payments. You must give your
correct TiN, but you do not have to sign
the certification unless you have been
notified of an incorrect TIN. Other
payments include payments made in the
course of the requester’s trade or business
for rents, royalties, goods (other than bills
for merchandise), medical and health care
services, payments to a nonemployee for
services (including attorney and accounting
fees), and payments to certain fishing boat
crew members.

5. Mortgage Interest Paid by You,
Acquisition or Abandonment of Secured
Property, Cancellation of Debt, or IRA
Contributions. You must give your correct
TIN, but you do not have to sign the
certification.

Privacy Act Notice

Section 6109 requires you to give your
correct TIN to persons who must file
information returns with the [RS to report
interest, dividends, and certain other
income paid to you, mortgage interest you
paid, the acquisition or abandonment of
secured property, cancellation of debt, or
contributions you made to an IRA. The IRS
uses the numbers for identification
purposes and to help verify the accuracy
of your tax return. You must provide your

TIN whether or not you are required to file
a tax return. Payers must generally
withhold 31% of taxable interest, dividend,
and certain other payments to a payee
who does not give a TIN to a payer.
Certain penalties may also apply.

What Name and Number To
Give the Requester

For this type of account:

Give name and SSN of:

1. Individual

2. Two or more
individuals foint
account)

3. Custodian account of
a minor (Uniform Gift
to Minors Act)

4. a. The usual
revocable savings
trust {grantor is
also trustee)

b. So-called trust
account that is not
a legal or valid trust
under state law

5. Sole proprietorship

The individual

The actual owner of the
account or, if combined
funds, the first individual
on the account '

The minor 2

The grantor-trustee *

The actual owner

The owner *

For this type of account:

Give name and EIN of:

6. Sole propristorship
7. A valid trust, estate, or
pension trust
8. Corporate
8. Association, club,
religious, charitable,
educational, or other
tax-exempt
organization
10. Partnership
11. A broker or registered
nominee
12. Account with the
Department of
Agricutture in the name
of a public entity (such
as a state or local
govemment, school
district, or prison) that
receives agricultural
program payments

The owner *
Legal entity ¢

The corporation
The organization

The partnership
The broker or nominee

The public entity

" List first and circle the name of the person whose

fumber you furish.

*Circle the minor's name and fumish the minor's SSN.
*You must show your individual name, but you may also
enter your business or “doing business as” name. You
may use either your SSN or EI

“List first and circle the name of the legal trust, estate,
or pension trust. (Do not fumish the TIN of the personal
representative or trustee unless the legal entity itself is
not designated in the account title}

Note: If no name is circled when more than one
name is fisted, the number will be considered to
be that of the first name listed.





[image: image3.png]wEPA o

United States Enviconmental Protection Agency
Washington, DC 20480

Certification Regarding
Debarment, Suspension, and Other Responsibility. Matters

The prospective participant certifies to the best of its knowledge and belief that it and its principals:

(a) Arevnot resently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily
excluded from covered transactions by any Federal department or agency;

(b) Have not within a three period preceding this proposal been convicted of or had a civil udgement
rendered against them yfgrareommlsslon of fraud or a criminal offense in connection withl ]
attempting to obtain, or performing a public (Federal, State, or local) transaction or contract under a
public transaction; violation of Federal or State antitrust statutes or commission of embezziement,

theft, forgery, bribery, falsification or destruction of records, making false statements, or receiving
stolen property;

(¢) Are not presently indicted for or otherwise crimi or civilly charged by a govemment ‘ederal,
State, or ch:l‘hwnh commission of any of trt‘gwoﬁensesyenmmm% in paragraph (1) )(Fol this

(d) Have not within a three- period preced|
u:vn;acuons (Fc:'l:ral. smsw:rr local) terminated

IuwmumamuweMmWseemﬂeaﬂmmybe?;?umﬂam]wbndwsWu
termination of the award. In addition, under 18 USC Sec. 1001, a false statement may result in a fine of up
to $10,000 or imprisonment for up to § years, or both.

this ication,
app&d /proposal had one or more pubiic

Typed Name & Title of Authorized Representative

Signature of Authorized Representative Date

(3 1 am unabie to certity 1o the above statements. My explanation is attached.

EPA Form 570049 (11-88)




INSTRUCTIONS

Under Executive Order 12549, an individual or organization debarred or excluded from participation in federal assistance or benefit programs may not receive any assistance award under a federal program, or a sub-agreement thereunder for $25,000 or more.

Accordingly, each prospective recipient of an EPA grant, loan, or cooperative agreement and any contract or sub-agreement Participant thereunder must complete the attached certification or provide an explanation why they cannot.  For further details, see 40 CFR 32.510, Participants' responsibilities, in the attached regulation.

Where To Submit:

The prospective EPA grant, loan, or cooperative agreement recipient must return the signed certification or explanation with its application to the appropriate EPA headquarters or regional office, as required in the application instructions.

A prospective prime contractor must submit a completed certification or explanation to the individual or organization awarding the contract.

Each prospective subContractor must submit a completed certification or explanation to the prime contractor for the project.

How To Obtain Forms:

EPA includes the certification form, instructions, and a copy of its implementing regulation (40 CFR Part 32) in each application kit.  Applicants may reproduce these materials as needed and provide them to their prospective prime contractors, who, in turn, may reproduce and provide them to prospective subContractors.

Additional copies/assistance may be requested from:


Compliance Branch


Grants Administrative Division (PM-216F) 


U.S. Environmental Protection Agency


40I M Street, SW


Washington, DC 20460


Telephone: 202/475-8025

SE

� Since this RFP does not use EPA grants, clauses related to EPA grants are not applicable for this contract.


� If similar unit(s) were independently tested prior to bid submittal, this money will available on completion of fuel cell design, fabrication and integration of the fuel cell units for this project.








-40-

_1019478471

