ATTACHMENT 1

Evaluation of Bids from Respondents to RFQ #Q2004-08
	Manufacturer
	Rating
	Total Cost
	Additional Credits
	Ethernet Cost

	Teledyne API 400E
	95.3
	$73,400 
	NA
	$4,330 

	Altech O342M
	85.5
	$95,679 
	NA
	NA

	Horiba APOA-360
	83.8
	$94,398 
	NA
	NA

	Thermo 49C
	87.3
	$77,178 
	NA
	NA

	
	
	
	
	


