


ATTACHMENT
STATUS REPORT ON PERMITTING OF MAJOR ELECTRIC GENERATING FACILITIES 

September 5, 2008 
	Project
	Applicant
	Location
	Size / Equipment
	CEC Status
	AQMD Status







	
	
	
	

	
	
	
	
· 

	
	
	
	· 

	
	
	
	

	
	
	
	· 

	
	
	
	· 

	

	
	

	· 


	

	
	
	· 

	
	
	
	· 

	
	
	
	· 

	

	
	
	· 

	


	
	
	· 

	
	
	
	· 

	
	
	
	· 

	
	
	
	· 

	

	
	
	· 

	
	
	
	· 


	1
	AES Highgrove Project
	AES Highgrove, LLC.
	12700 Taylor Street, Grand Terrace
	300 MW Plant with 3 GE LMS100 PA simple cycle gas turbines
	· AFC submittal:  5-25-06. 
· Pending AFC Certificate.
	       PC submittal: 6-23-06
       PDOC: Pending

	2
	Canyon Power Plant
	City of Anaheim
	3071 East Mira Loma Ave., Anaheim 
	200 MW Plant with 4 GE LM6000 PC Sprint simple cycle gas turbines
	· AFC submittal:  12-28-07.
·  Pending AFC Certificate.
	       PC submittal: 12-26-07 
       PDOC: Pending  

	3
	Edison Barre
	Southern California Edison (SCE)
	8662 Cerritos Ave. Stanton, 
	45 MW Plant with 1 GE LM6000 PC Sprint simple cycle gas turbine
	· Non-CEC Project
· AQMD lead agency for CEQA.
	       PC submittal: 10-26-06
       PC issued 4-03-07.
       Turbine first fire on 7-20-07.

	4
	Edison Center 
	SCE
	10601 Firestone Blvd. Norwalk 
	45 MW Plant with 1 GE LM6000 PC Sprint simple cycle gas turbine
	· Non-CEC Project
· AQMD lead agency for CEQA.
	       PC submittal: 10-26-06
       PC issued 4-03-07.
       Turbine first fire on 7-21-07.

	5
	Edison Grapeland  
	SCE
	9000 Etiwanda Ave Rancho Cucamonga
	45 MW Plant with 1 GE LM6000 PC Sprint simple cycle gas turbine
	· Non-CEC Project
· AQMD lead agency for CEQA.
	       PC submittal: 10-26-06
       PC issued 3-01-07
       Turbine first fire on 7-23-07

	6
	Edison Mira Loma
	SCE
	13568 Milliken Ave, Ontario 
	45 MW Plant with 1 GE LM6000 PC Sprint simple cycle gas turbine
	· Non-CEC Project
· AQMD lead agency for CEQA.
	       PC submittal: 10-26-06
       PC issued 4-03-07.
       Turbine first fire on 7-23-07

	7
	El Segundo Power Redevelopment Project  * 
	El Segundo Power, LLC.
	301 Vista Del Mar Blvd, El Segundo
	573 MW Plant with 2 Siemens SGT6-5000F combined cycle gas turbines, 1-on-1 steam turbine
	· AFC submittal:  12-21-00
· AFC Certificate issued 02-02-05. 
· Modification of AFC submittal 6-22-07.
· Pending AFC Certificate.
	       Initial PC submittal: 2-18-01

       Initial PDOC: 10-17-01
       Initial FDOC: 2-14-02 

       Revised PC submittal: 6-21-07
       Addendum to DOC: 3-13-08
       Title V Public hearing 7-31-08. 

       FDOC: Pending  

	8
	Long Beach Generation * 
	Long Beach Generation, LLC.
	2665 W. Seaside Blvd., Long Beach
	260 MW Plant with 4 Alston 11D5 simple cycle gas turbine 
	· Non-CEC Project 
	· PC submittal: 11-28-06

· PC issued: 4-6-07

	9
	Palmdale Solar Gas-Hybrid
	City of Palmdale/ Inland Energy
	Palmdale 
	563 MW Plant with 2 combined cycle gas turbines, 2-on-1 steam turbine and 50 MW of solar generating capacity
	· AFC submittal:  8-4-08

· Pending AFC Certificate.
	       Non-AQMD Project  
       PC pending out of basin credit transfer per AQMD Rule 1309.1 - Priority Reserve.

	10
	Riverside Energy Resources Units 3 and 4
	City of Riverside 
	5901 Peyton Ave.,  Riverside 
	98.6 MW Plant with 2 GE LM6000 PC Sprint simple cycle gas turbines
	· SPPE submittal:  3-19-08. 
· Pending SPPE certificate
	       PC submittal: 4-17-08
       PDOC: Pending 


	11
	San Gabriel Generating Station
	Reliant Energy, LLC.
	8996 Etiwanda Ave, Rancho Cucamonga 
	721 MW Plant with 2 Siemens SGT6-5000F combined cycle gas turbines, 2-on-1 steam turbine
	· AFC submittal:  4-13-07. 
· Pending AFC Certificate.
	       PC submittal: 5-1-07
       PDOC issued: 3-21-08
       FDOC: Pending


	12
	Sentinel Energy Project * 
	Competitive Power Venture, Inc.
	62575 Power Line Road, Desert Hot Springs
	850 MW Plant with 8 GE LMS100 PA simple cycle gas turbines
	· AFC submittal:  6-26-07. 
· Pending AFC Certificate.
	       PC submittal: 7-26-07
       PDOC issued: 5-21-08 
       FDOC: Pending  

	13
	Southeast Region Energy Project
(Previously Vernon Power Plant Project)
	City of Vernon
	3200 Fruitland Ave, Vernon 
	943 MW Plant with 3 Siemens SGT6-5000F combined cycle gas turbines, 3-on-1 steam turbine
	· AFC submittal:  6-30-06. 
· Pending AFC Certificate.
	       PC submittal: 6-30-06
       PDOC: Pending


	14
	Valle Del Sol  Energy Project 
	Edison Mission Energy
	29500 Rouse Road, Romoland
	500 MW Plant with 5 GE LMS100 PA simple cycle gas turbines
	· AFC submittal:  12-1-05
·  Pending AFC Certificate.
	       PC submittal: 11-29-05
       PDOC issued: 2-08-08
       FDOC issued: 4-24-08

	15
	Victorville 2 Solar-Gas Hybrid 
	City of Victorville/ Inland Energy 
	Victorville
	563 MW Plant with 2 combined cycle gas turbines, 2-on-1 steam turbine and 50 MW of solar generating capacity
	· AFC submittal:  2-28-07
· PSA issued 11-21-07
· FSA issued 3-19-08 
· AFC certificate issued 7-16-08.
	       Non-AQMD Project  
       PC pending out of basin credit transfer per AQMD Rule 1309.1 - Priority Reserve.

	16
	Walnut Creek Energy Project *
	Edison Mission Energy
	911 Bixby Drive, Industry
	500 MW Plant with 5 GE LMS100 PA simple cycle gas turbines
	· AFC submittal:  11-22-05
· AFC Certificate issued 2-27-08.
	       PC submittal: 11-29-05
       PDOC issued: 10-31-06
       FDOC issued: 2-28-08


	17
	Wellhead Power
	Wellhead Power Margarita, LLC. 
	28400 Antonio Pkwy, Ladera Ranch
	49.9 MW Plant with 1 GE LM6000 PC Sprint simple cycle gas turbine
	· Non-CEC Project
· County of Orange Lead agency for CEQA.  
· On 5-16-08, Orange County retracts CEQA decision.
	       PC submittal: 5-30-07
       Public Meetings on 12-19-07 and 3-06-08.  
       PC Pending
       Project appears to be 
        suspended.


* Has obtained long term power sales contract with SCE
  Acronyms
	AFC   : Application For Certification
	
	

	FDOC: Final Determination of Compliance
	FSA: Final Staff Assessment         
	PC    :  Permit to Construct                                          

	PDOC: Preliminary Determination of Compliance                                  
	PSA: Preliminary Staff Assessment   
	SPPE: Small Power Plant Exemption


8/27/2008 12:53 PM                                                                                                                                                                                                                                                             Page 4 of 4

